  EDG-2C Operator’s Handbook
Contents
- 3 -Introduction


- 3 -1.1 Features


- 3 -1.2 Packing List


- 4 -1.3 Charging the Battery


- 4 -Operation of the EDG


- 4 -2.1Power on/off


- 4 -2.2 EDG MAIN


- 5 -2.3 Model


- 6 -2.3.1 New Model


- 7 -2.3.2 Model Settings


- 10 -2.3.3 Delete test points of a model


- 10 -2.3.4 Delete a model


- 10 -2.4 Project


- 11 -2.4.1 New Project


- 12 -2.4.2 Associate with a model


- 13 -2.4.3 Start Test


- 15 -2.4.4 Result View


- 16 -2.4.5 Delete test points of a project


- 16 -2.4.6 Export the data


- 16 -2.4.7 Delete a project


- 16 -2.5 GPS Control


- 17 -2.6 Data share


- 18 -2.7 System Settings


- 19 -Notice(Routine Operations)


- 19 -Watch for suspicious readings




 Introduction

1.1 Features

Concrete electronic density gauge (Abbreviated as EDG) utilizes advanced electromagnetic technology to obtain accurate concrete density readings.

Primary features:

※ No radioactive materials or special license required.

※ Light weight and easy to use.
※ Without compromising the integrity of the sample structure.

※ Measures density in common units (g/cm³).

※ Measures for the temperature of the concrete. 
※ Stores 40000 readings on internal Data Logger.

※ Optional download to computer.

※ GPS, WIFI and 4G inside.

How does it work?

The density of concrete is directly proportional to the measured dielectric constant of the material. EDG uses electrical waves to measure dielectric constant using an innovative, toroidal electrical sensing field established by the sensing plate.

The electronics in the EDG convert the field signals into material density readings and displays the results. Once calibrated, direct density readings can be consistently obtained.

As shown below:

     [image: image1.png]analyte

inductor

defect




1.2 Packing List

The EDG shipment package includes the items listed below. Please contact your dealer if any part missing.

Instrument box

One EDG unit

One battery charger 
USB A-C cable
User manual, warranty card and certificate
1.3 Charging the Battery

Note: Be sure to use the original charger for charging.
    EDG is powered by lithium batteries which weigh less and smaller.
Under normal operation, EDG can operate in excess of 15 hours at full charge. The internal 3.7 volt battery is designed to be recharged in approximately 8 hours, using the charger with 5V output.

Warning！
Attempting to recharge the unit in any other way than with the recharger supplied with the unit can result in damage to the unit and can present a safety hazard. Use of any charging means other than the recharger supplied with the unit will void the unit's warranty.

Operation of the EDG
Starting EDG for the first time. Turn EDG on by flipping the POWER switch on the left. The internal buzzer emits a beep sound. Then the unit begins self-test and starts. After a few seconds the display will show the MAIN menu.
2.1Power on/off
When the device is turned off, press the power button for 0.5 seconds and then release it. The instrument will start up for self-check and display the startup screen. Wait for a few seconds and then enter the MAIN MENU.
When the device is turned on, press and hold the power button for 4 seconds. The green working indicator light will remain on constantly. At this point, release the power button and the instrument will be turned off.
2.2 EDG MAIN
After boot up, the screen displays as follows: 

                                                                                                                                                                    [image: image2.png]24/12/08 & c O
MAIN MENU 8:5532 B &2 fso0c N

GPS CONTROL

DATA SHARE SYSTEM SETTINGS





    The current menu interface, storage and status information are displayed at the top of the screen. When the EDG is located outdoors, the GPS status indicator icon is displayed. Otherwise, it is not displayed.
2.3 Model

  In the MAIN MENU, click the button "EDG START", the screen displays as follows:

    [image: image3.png]24/12/08 ‘ R
< EDG START carey B0 %o Q2s5C X W

PROJECT





In the EDG START menu, click the button “MODEL”, turn to the MODEL menu:

[image: image4.png]< MODEL 24/12/08 po o faesc O W)

8:53:32

O





2.3.1 New Model

  Click the button "New Model" and input a name:

          

 [image: image5.png]New Model

mode |1

Save Cancle




     [image: image6.png]24/12/08 & X N
< MODEL asazs B10 1 Q2sc W)

modell





2.3.2 Model Settings
In the MODEL menu, you can set the model by clicking the button "Settings". Menu as follows:

[image: image7.png]< MODEL SETTINGS 20247208 P30 &1 Q2eec N WD

T [os

Model: modell

Maximum Density: 2.50 g/cm?

= All tests to function require physical data to be entered first.
* You should input the maximum density to caculate the compactness.





Press "New Point", Menu as follows:     [image: image8.png]2024/12/08
< MODEL TEST bszs, B30

modell

IS TEST]
Tips

- Make sure the surface of the
concrete is smooth

- Do not touch the instrument during
the test.

- After the test is completed, the
density and moisture of the test point
should be obtained by the
sand—filling method or the drill core
samp | ing method

&1 Q2sc O W

Click "Test" to start
reading.





  Obtain readings at the positions as shown below.
                   [image: image9.png]



    Draw a circle around the sensor's outer edge of EDG and take readings in the center (1) and at 2 o'clock, 5 o'clock, 8 o'clock and 11 o’clock positions. After reading number 5 is complete, click “Save” to store the data.

[image: image10.png]2024/12/08
< MODEL TEST prdeiad =~ Y

modell

IS TEST]
Tips

- Make sure the surface of the
concrete is smooth

- Do not touch the instrument during
the test.

- After the test is completed, the
density and moisture of the test point
should be obtained by the
sand—filling method or the drill core
samp | ing method

&1 Q2sc O W

Click "Save" to store
the data.





[image: image11.png]< MODEL SETTINGS 20247208 P30 &1 Q2eec N WD

FEE CIE
TESTI No data 0.000 10.00 o

11

O

* All tests to function require physical data to be entered first.

Model: modell

Max imum Density 2.50 g/cm?

* You should input the maximum density to caculate the compactness.





In the MODEL SETTINGS menu, input the density and moisture by pressing "Modify". The density and moisture content are obtained through the sand-filling method or the drill core sampling method.

[image: image12.png]Density g/cm3

Moisture %




    Warning!

Change the position to create at least three points. You should make sure the density and moisture of the three points are different.

After physical data of the three points has been inputted, you can fit this model by clicking “Fit”. Then a model is calibrated.   
To calculate the compactness and moisture content, it is necessary to input the maximum density.
2.3.3 Delete test points of a model    
    In the MODEL SETTINGS menu, you can delete a point which is selected by pressing "Delete".

2.3.4 Delete a model  


  In the "MODEL" menu, you can delete a model which is selected by clicking the button "Delete".
2.4 Project
In the EDG START menu, press the button “Project”, turn to the PROJECT menu.

[image: image13.png]24/12/08 0 Q
< PROJECT 855352 Bo &1 J269c W

) Y T

Click a project name to view results.

Click a model name to reassociate with another.

You should select a project before click "Start Test”





2.4.1 New Project
In the PROJECT menu, you can create a project by clicking the button “New Project”.

    [image: image14.png]New Project

projectl

-




Input a name of the new project, then click “Save”. You can see as follows:

[image: image15.png]24/12/08 O
< PROJECT 855352 B &1 Q269c

) Y T

projectl Not Associated

Click a project name to view results.

Click a model name to reassociate with another.

You should select a project before click "Start Test”





Note: Up to 200 projects can be saved.

2.4.2 Associate with a model

A new project is not associated with any model. Click "Not Associated" area, it shows as follows:

[image: image16.png]24/12/08 26. ¢ Q
< MODEL ceasy BV %1 Q26sc O WD

modell





Click the button "model1", it will be associated with the current project.

    [image: image17.png]24/12/08 O
< PROJECT 855352 B &1 Q269c

) Y T

project] mode| 1

Click a project name to view results.

Click a model name to reassociate with another.

You should select a project before click "Start Test”





2.4.3 Start Test

  Select a project, and click the button "Start Test", test menu will be show:

    [image: image18.png]2024/12/08 P
< START TEST iy B &1 fsic X 1N

T4 project]

IS (VR TESTOOT

2.288 glem? 91-52%

Naximun Density: 2500g/cm®

Real-time viewing results
m Continuous Reading v

Tips:
* Ensure that the surface of the concrete
being measured is flat and without

obvious bumps or depressions





EDG can be used in three different measurement or run modes, respectively:

             Continuous Reading Mode

             Single Reading Mode

             Enhancement Mode
[image: image19.png]2024/12/08 . ~
< START TEST o0 B &1 Jsi1c O N

T4 project]

IS (VR TESTOOT

Naximum Density: 2.500g/cm®

2.288 glem? 91-52%

Real-time viewing results.
Continuous Reading v

Continuous Reading
Tips: Single Reading
- Ensure that ‘Enhancement
being measur:
obvious bumps or depressions.





     Continuous Reading Mode: Continuous reading mode is used to provide instantaneous density measurements for quality control purposes. When in continuous mode, EDG will display a screen and update values of density, temperature and compaction continuously.
Note: The data cannot be saved in this mode.

Single Reading Mode: single reading mode is used to provide density measurement for one specific point, and conduct single reading each time.

In the mode, click “Test” to start a reading. The unit begins to read and display data from the probe four seconds later after pressing “Test”.

Note: Any touch to the unit by hand or other metal objects is prohibited once the countdown of reading begins, otherwise will distort the reading seriously.
The data gained can be stored on internal data logger. Once a single reading is completed, press "Save" to save measured data.

Note: the unit allows maximum storage of data for 4200 points. You will be prompted to delete data, if exceed this number.
Enhancement Mode: 

As shown below:

                   [image: image20.png]



    Draw a circle around the sensor’s outer edge of EDG and take readings in the center (1) and at 2 o'clock, 5 o'clock, 8 o'clock and 11 o’clock positions. After reading number 5 is complete, calculate the average of the 5 readings. Press "Save" to store the data after the measurement is completed.

2.4.4 Result View

    In the PROJECT menu, click the project name. You will enter the menu which you can view results and delete test points.

[image: image21.png]2024/12/08 c > ‘
< RESULT VIEW it B &1 f2c O 1N

Dens Compaction o o
ongitute (") Latitute (") pete

TESTOO1 2288 91.52 118.256432E || 39.452132N | 2024-12-08

00
) OO (o)





2.4.5 Delete test points of a project

    Click the test number “TEST001”, then it is selected and it changed to [image: image22.png]TESTOO1



. You can delete one test point by clicking the button “Delete” when it is selected.
2.4.6 Export the data
In the RESULT VIEW menu, you can convert the data into an Excel file named for this project by clicking “Make Report”. After the EDG is connected to your computer by a USB cable, you can find a new disk. The report is in the EXCEL folder on the new disk. Then you can check it on your computer.
2.4.7 Delete a project

    In the PROJECT menu, you can delete one project which is selected by clicking the button "Delete".

[image: image23.png]24/12/08 O
< PROJECT 855352 B &1 Q269c

X T T

project] mode| 1

Click a project name to view results.

Click a model name to reassociate with another.

You should select a project before click "Start Test”





2.5 GPS Control
In the MAIN MENU, you can turn on/off the GPS by clicking the button “GPS CONTROL”.
[image: image24.png]GPS Control




2.6 Data share
[image: image25.png]24/12/08 ° Q
< DATA SHARE B %1 Qe X Wb

Connection WIF|
SSID

Password

Tips:

1. Connect EDG to a computer using the cable
you can copy the report to your computer from EDG

Then

2. After choosing the data uploader, you can upload the data
to the app or server through the data viewing menu





In the menu “DATA SHARE”, you can input the IP and COM of the server. Then you should select a connection method. You need enter the SSID and password when you chose the WIFI method. Then you can send the test results to the server by clicking the button “Upload” in the menu “RESULT VIEW”.

[image: image26.png]< RESULT VIEW 2024/12/08 B3y &1 Qe N WD

De
e | %

TESTOO1 2288 Q1ca e 2N | 2024-12-08

00
Upload \ Make Report w





2.7 System Settings

[image: image27.png]< SYSTEM SETTINGS 24208 P31 &1 Qz4c O WD

@ ¥ @

Language Back| ight Time Settings Update

SN:SR20241288





    In this menu, you can set language、time and backlight. In addition, you can also check for the firmware updates.

Notice(Routine Operations)
1). Once calibrated the EDG is ready to be used at each job site and asphalt mix. It is suggested that 5 readings be taken at each site following the average reading pattern.

2). Keep EDG bottom surface clean and dry. For accurate readings, the EDG should have a clean, dry and smooth interface with the mat. Therefore, you should wipe the EDG probe surface dry and clean after each reading.

3). Before placing the EDG on the mat, you should check the surface of the mat to make sure there is no loose material on the surface. If a buildup of asphalt begins to form on the probe surface, clean the surface with WD-40.

4). Choose a flat measuring point. While the EDG contains moisture correction algorithms, the most accurate readings will be obtained if areas with low moisture levels are measured. If a measurement area has noticeable surface moisture, you should either wait for the moisture to evaporate or remove the moisture with an absorbent cloth.

Watch for suspicious readings

  If a reading seems unusual or suspicious, check for possible measurement errors (dirty surface, wet surface, low battery voltage) and retake the reading.

  Rest results are obtained when moisture levels for a series of readings are kept relatively constant. If the moisture level for a reading is more than a percentage point higher or lower than the previous readings, the reading should be treated as suspicious.

  Don't touch the EDG while it is making a measurement. Touching any part of the EDG while it is performing a measurement can distort the reading.

Information





Battery Level





Current Menu





Project Number





Model Number





GPS State





Back








- 3 -

